CONSTRUCTION

MANAGEMENT

MASTER SPECIFICATIONS

DIVISION 1

(Summary)

| ISSUE HISTORY |
| --- |
| Issue | Date | Pages Affected | Comments |
| 002 | 01/03/05 | All | 1.3.B, 1.3.C, 1.4.B, 1.5.A, 1.6, 1.6.A, Editors Note before 1.6.B, 1.9.A, 1.9.C-D, 1.10.B.1, 1.12.C, 1.13.B, 1.14.B, 1.14.B.1-2, 1.15.C, 1.17.B-C, 1.18.A, and all of Project Specific Requirements by Section |
| 003 | 03/10/05 | All | General change. |
| 004 | 04/21/05 | All | General change. |
| 005 | 07/06/05 | 4, 6 | Delete section 1.8 “Energy Star Compliance,” 1.13.B.1, 1.13.B.2, 1.14.A |
| 006 | 03/10/06 | 3 | 1.5.A |
| 007 | 02/02/07 | 6 and 7 | 1.15.A, 1.15.B, delete 1.15.C |
| 008 | 10/02/07 | All | Delete definitions and general requirements, in T&S’s (PX-200STC-76). Modified format and content for SOW, added applicable documents and requirements section. Revised RFI verbage, added FCR. Moved construction to new section 01200. Defined furnished temporary facilities to 01200. Reorganized/deleted “complete system,” belongs in SOW. Deleted drawings and specs, belongs in RFP or T&Cs. Deleted site condition, in T&Cs. Add requirements from Div 1, 01200, for construction water. Deleted “contract duration section, period of performance,” per comments from S/C. |
| 009 | 4/26/11 | All | Global changes to clarify Contractor requirements. |
| 010 | 1/23/12 | 5 | Format change. |
| 011 | 10/19/16 | 4, 9 | Process Improvement. |
| 012 | 10/28/19 | 3, 5-6, 8 | Implementation of Installation Change Request. |
| 013 | 03/22/22 | 4-7 | Updated the email address for Project Records and revised the form number to be used for RFIs. |

TABLE OF CONTENTS

PART 1.	GENERAL	4

1.1	SCOPE	4

1.2	PROJECT INFORMATION	4

1.3	GOVERNMENT FURNISHED EQUIPMENT	4

1.4	REQUESTS FOR INFORMATION (RFI) CONTRACTOR INSTRUCTIONS	4

1.5	INSTALLATION CHANGE REQUEST	5

PART 2.	REQUIREMENTS	5

2.2	STATEMENT OF WORK	5

2.3	EXHIBITS	6

2.4	REFERENCES	6

SECTION 01010 - SUMMARY

[EDITOR:  The Project Manager is responsible for completion of DIV-01010.  Do not re-number or re-name or delete any sections within 01010.]

# GENERAL

## SCOPE

[EDITOR:  Input the brief background, project objectives, and a concise summary of the Statement of Work (SOW).  Directions or requirements shall not be included in this section.]

## PROJECT INFORMATION

### Project Identification: [Insert the Project name and Project number].

### Contractor: [Insert Contractor name and contact information].

### Project Location: [Insert the zone, location, and building number.]

#### The location(s) of work (is) are in the 	    	 Property Protection Area		 		    	   Limited Area 	    	  Protected Area  	    	  Material Access Area.

#### This location [is/is not] in an area controlled for radiological purposes.

## GOVERNMENT FURNISHED EQUIPMENT

### CNS Pantex will furnish and install the following:

#### [Provide a list of equipment or specify “None.”]

### CNS Pantex will provide and the Contractor will install the following:

#### [Provide a list of equipment or specify “None.”]

## REQUESTS FOR INFORMATION (RFI) CONTRACTOR INSTRUCTIONS

### An RFI is a contractor-initiated technical question; not an authorized change document. An RFI cannot be used to direct a change in contract requirements.

### The Contractor shall submit UCN-22350, “Request for Information (RFI),” electronically to the following e-mail address: project_records_man@pxy12.doe.gov to request clarification or additional information concerning the project.  Impacts to the cost or schedule shall be identified within the RFI (also see DIV-01010, Exhibit 1).

### The contractor shall immediately advise CNS Pantex, via a contractor change proposal, when the CNS Pantex response to an RFI has a cost and/or schedule impact.

### Work undertaken without authorization from the CNS Pantex Contract Specialist is at the contractor's risk and expense.

### [Editor: Edit time as appropriate for each project.]

### The Contractor shall allow 14 calendar days for CNS Pantex to respond to an RFI.

## INSTALLATION CHANGE REQUEST

### The Contractor shall submit a PX-6290, “Installation Change Request” (ICR) electronically to the following e-mail address:  project_records_man@pxy12.doe.gov if a change in drawings or specifications is requested (see DIV-01010, Exhibit 2).

### CNS Pantex Engineering must concur with the ICR disposition prior to implementation.

[Editor:  Edit time as appropriate for each project.]

### The Contractor shall allow 14 calendar days for CNS Pantex to respond to an ICR.

# REQUIREMENTS

2.1	COMPLETE SYSTEM

### The Contractor shall provide all incidental parts, labor, supplies, equipment, and materials necessary to provide a complete and functional system that performs as specified.

### The Contractor shall follow all manufacturers’ recommendations and procedures for the installation of materials, equipment, and systems.

### All equipment and systems shall comply with applicable government and industry codes, standards, laws, regulations, CNS-Pantex supplied drawings, and CNS Pantex-supplied specifications.

### If two or more applicable codes, standards, laws, regulations, CNS Pantex-supplied drawings, or CNS Pantex-supplied specifications establish differing requirements, the Contractor shall comply with the most stringent requirement.

## STATEMENT OF WORK

[Provide a systematic and logical arrangement of the elements of the scope of work.  Use chronological order to the maximum extent possible.  Define what is required, not how to perform it.  If a separate Statement of Work (SOW) is used, either reference it here or place it in this section in its entirety.  Using additional numbers and letters for more detail is acceptable.]

## EXHIBITS

### A.	Exhibit 1 – UCN-22350, “Request for Information (RFI)”

### B.	Exhibit 2 – PX-6290, “Installation Change Request (ICR)”

## REFERENCES

### GOVERNING DOCUMENTS

- https://webapps.cns.doe.gov/LinksMgr/linksMgr?docType=RMSFlowdown&docNum=DIV-01010

B. 	AUTHORIZING DOCUMENTS

1. 	DIR-0001, “Roles and Responsibilities for Management and Operation of Pantex Plant”

C. 	RELATED DOCUMENTS

1.	None

D. 	GENERATED DOCUMENTS

1.	PX-6290, “Installation Change Request”

#### 2.	UCN-22350, “Request for Information (RFI)”

#### E. 	RECORDS

#### 1.	UCN-22350, “Request for Information (RFI)” RS 50000032

#### 2.	PX-6290, “Installation Change Request” RS 50000032

END OF SECTION 01010

EXHIBIT 1

UCN-22350, “Request for Information (RFI)”

USE MOST CURRENT ISSUE FOUND ON ONESOURCE, Just-in-Time Forms

EXHIBIT 2

PX-6290, “Installation Change Request”

USE MOST CURRENT ISSUE FOUND ON ONESOURCE, Just-in-Time Forms